{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["яч.1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"яч.1","index":0,"n_rows":42,"n_cols":26,"rows_kept":42,"cut":false,"hidden":false,"merged":[[6,0,6,24],[5,0,5,24],[8,1,8,25],[41,0,41,1],[37,0,37,25],[38,1,38,24],[39,1,39,24],[40,1,40,24],[8,0,9,0]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Приложение 2"]
[]
[]
[]
["Ведомость контрольных замеров за 18.12.2024г."]
["ПС 110/10 кВ №96 \"Полярная\""]
[]
["Время "," Iн. А"]
[null,"Яч.1","Яч.3","Яч.5","Яч.7","Яч.9","Яч.11","Яч.13","Яч.17","Яч.19","Яч.25","Яч.27 ","Яч.29","Яч.23","Яч.4","Яч.6 ","Яч.8","Яч.16","Яч.18","Яч.20","Яч.24","Яч.26","Яч.28","Яч.30","Яч.32","Яч.10"]
["(мск.)",null,null,null,null,"КРМ",null,null,null,null,null,"ТСН",null,null,null,"ТСН",null,null,null,null,null,null,"КРМ"]
["00:00:00",6.4,130.19999999999999,36.799999999999997,72.8,34.4,59.4,2.4,6.4,4,58.2,0,4.4000000000000004,369,63.6,"1",3.7514654161781902,6.1866666666666674,114.4,68.400000000000006,17.399999999999999,0,34,33.6,32.799999999999997,327]
["01:00:00",6.4,130.80000000000001,35.200000000000003,72.8,34.4,59.4,2.4,6.4,2.8,64.8,0,4.4000000000000004,369,66,"1",3.7514654161781902,6.4533333333333331,117.6,70.8,17.399999999999999,0,34,31.8,36,333]
["02:00:00",8,139.19999999999999,37.200000000000003,80,34,64.2,2.8,5.6,3.2,64.2,0,3.6,393,75.599999999999994,"1",3.7514654161781902,6.1333333333333337,129.6,77.400000000000006,17.399999999999999,0,34,36,38.4,369]
["03:00:00",10.4,163.80000000000001,47.2,85.6,34,84,3.6,7.2,3.2,79.8,0,3.6,468,104.4,"1",3.86869871043376,5.28,131.19999999999999,83.4,19.8,0,34.4,45.6,46.4,423]
["04:00:00",10.4,165,50.8,90.4,34,86.4,4,12.8,2.8,85.2,0,4,492,115.2,"2",3.9859320046893298,9.1733333333333338,129.6,105.6,27.6,0,34.4,52.2,58.4,486]
["05:00:00",11.2,184.2,58,108.8,33.6,95.4,5.6,10.4,3.6,99.6,0,4,558,118.8,"2",3.9859320046893298,10.56,125.6,124.8,37.200000000000003,0,33.6,63,74.400000000000006,549]
["06:00:00",10.4,186.6,57.6,120,33.6,92.4,7.2,12,3.6,93,0,3.6,570,127.8,"2",3.5169988276670598,8.3733333333333331,128.80000000000001,137.4,31.8,0,34,68.400000000000006,78.400000000000006,567]
["07:00:00",10.4,201.6,64.8,124.8,34,97.2,8,12,3.2,105,0,4,594,129,"1",3.86869871043376,10.293333333333333,128,144,33,0,34.4,66.599999999999994,78.400000000000006,582]
["08:00:00",13.6,184.8,61.6,123.2,34,93.6,8.8000000000000007,10.4,2.8,106.2,0,4,591,133.80000000000001,"2",3.86869871043376,10.56,130.4,136.80000000000001,30,0,33.6,73.8,76.8,594]
["09:00:00",14,185.4,68,116.8,34,96,8.4,9.6,3.6,97.2,0,3.6,579,129,"1",3.86869871043376,10.56,130.4,133.80000000000001,27,0,34,66,74.400000000000006,561]
["10:00:00",12,176.4,67.599999999999994,124,34.4,95.4,7.6,11.2,4,100.8,0,12,585,130.80000000000001,"2",3.7514654161781902,8.9066666666666681,130,137.4,29.4,0,34,66.599999999999994,75.2,564]
["11:00:00",11.2,169.8,64,121.6,34.4,91.2,7.6,8.8000000000000007,3.6,102,0,4,573,131.4,"1",3.7514654161781902,1.1200000000000001,132,137.4,28.2,0,34,67.2,75.2,579]
["12:00:00",12.8,170.4,65.2,112,34,91.8,7.2,10.4,3.2,103.8,0,3.6,564,132.6,"2",3.7514654161781902,10.56,135.6,133.80000000000001,23.4,0,33.6,66.599999999999994,76,564]
["13:00:00",15.2,181.8,70,102.4,33.6,102,7.2,8.8000000000000007,2.4,109.2,0,4,588,144,"1",3.7514654161781902,10.613333333333333,138,139.80000000000001,21,0,34,76.8,76.8,591]
["14:00:00",18,177.6,76,96,34.4,108.6,7.2,8.8000000000000007,3.2,114.6,0,4,606,139.19999999999999,"2",3.86869871043376,10.56,150.80000000000001,132,21.6,0,34,76.2,71.2,591]
["15:00:00",18.399999999999999,166.2,74.400000000000006,93.6,34,112.8,6.8,9.6,4,112.8,0,4,588,144,"2",3.86869871043376,10.613333333333333,150.80000000000001,130.19999999999999,19.8,0,34,74.400000000000006,64,582]
["16:00:00",16,166.2,76.400000000000006,95.2,34,109.8,6.4,8.8000000000000007,2.8,115.2,0,4,588,133.19999999999999,"2",3.6342321219226301,10.613333333333333,147.6,127.8,18.600000000000001,0,34,73.2,59.2,549]
["17:00:00",15.6,160.80000000000001,70.400000000000006,90.4,34.4,105.6,5.6,122.4,3.2,109.2,0,3.6,675,122.4,"2",3.6342321219226301,12.426666666666668,142.4,114,17.399999999999999,0,34,67.8,52,519]
["18:00:00",14.8,153.6,62.8,85.6,34,97.2,3.2,114.4,3.2,103.2,0,3.6,618,111,"2",3.6342321219226301,11.253333333333334,133.19999999999999,97.8,18.600000000000001,0,34,64.8,47.2,471]
["19:00:00",11.6,144.6,50.4,81.599999999999994,34,87,2.4,108.8,3.2,85.2,0,4.4000000000000004,564,93,"1",3.86869871043376,11.093333333333334,130.4,89.4,16.8,0,34.4,52.8,42.4,435]
["20:00:00",9.1999999999999993,135.6,43.6,81.599999999999994,34,75.599999999999994,2.8,100,4.8,74.400000000000006,0,4,516,77.400000000000006,"1",3.6342321219226301,8.16,128,90.6,16.8,0,34.4,43.8,39.200000000000003,396]
["21:00:00",8.4,135,42,80,34,67.2,2.8,98.4,3.6,66.599999999999994,0,4,495,70.8,"1",3.7514654161781902,10.613333333333333,119.2,80.400000000000006,16.2,0,34.4,40.200000000000003,34.4,363]
["22:00:00",7.2,129,39.200000000000003,79.2,34,62.4,2.8,95.2,3.2,62.4,0,4,474,66,"1",3.86869871043376,10.613333333333333,117.2,77.400000000000006,15.6,0,34.4,37.799999999999997,35.200000000000003,351]
["23:00:00",7.6,130.80000000000001,37.200000000000003,78.400000000000006,34.4,61.2,2.8,95.2,3.6,60.6,0,4,474,66,"1",3.7514654161781902,10.506666666666668,117.6,72.599999999999994,13.8,0,34.4,34.799999999999997,32.799999999999997,345]
["24:00:00",6.8,129.6,36.799999999999997,76.8,34.4,61.2,2.4,93.6,3.2,61.2,0,4,462,68.400000000000006,"1",3.86869871043376,3.36,119.2,72,15.6,0,34,37.200000000000003,32.799999999999997,333]
[]
["                     Примечание: ячейки входящие в \"График временного отключения потребления\" - №---(отсутствуют)"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической мощности\" - №№1,3,5,11,13,18,20,25."]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической энергии\" - №№1,3,5,13,18,20,25,30."]
[null,"                          ячейки заведенные под действие АЧР - №№1,5,7,11,13,17,18,19,20,26,30"]
["Селенгин В.В.\n(3902) 29-90-49"]