{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["яч.1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"яч.1","index":0,"n_rows":42,"n_cols":26,"rows_kept":42,"cut":false,"hidden":false,"merged":[[6,0,6,24],[5,0,5,24],[8,1,8,25],[41,0,41,1],[37,0,37,25],[38,1,38,24],[39,1,39,24],[40,1,40,24],[8,0,9,0]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Приложение 2"]
[]
[]
[]
["Ведомость контрольных замеров за 21.12.2022г."]
["ПС 110/10 кВ №96 \"Полярная\""]
[]
["Время "," Iн. А"]
[null,"Яч.1","Яч.3","Яч.5","Яч.7","Яч.9","Яч.11","Яч.13","Яч.17","Яч.19","Яч.25","Яч.27 ","Яч.29","Яч.23","Яч.4","Яч.6 ","Яч.8","Яч.16","Яч.18","Яч.20","Яч.24","Яч.26","Яч.28","Яч.30","Яч.32","Яч.10"]
["(мск.)",null,null,null,null,"КРМ",null,null,null,null,null,"ТСН",null,null,null,"ТСН",null,null,null,null,null,null,"КРМ"]
["00:00:00",7.8546307151230996,69.636576787807698,32.708089097303599,28.370457209847601,34.232121922626,40.093786635404498,8.2649472450175807,7.9718640093786597,3.2825322391559202,7.0339976553341197,"1",4.1031652989448997,199.15005861664699,7.20984759671747,"1",3.7514654161781902,9.8475967174677592,115.826494724502,29.542790152403299,14.7713950762016,28.370457209847601,34.114888628370501,48.358733880422001,37.749120750293102,294.10902696365798]
["01:00:00",9.8475967174677592,72.450175849941402,33.294255568581498,27.667057444314199,34.114888628370501,39.038686987104299,7.9132473622508801,7.9718640093786597,3.1652989449003499,7.0339976553341197,"1",3.9859320046893298,201.787807737397,7.0339976553341197,"1",3.7514654161781902,3.1652989449003499,119.109026963658,29.894490035170001,16.002344665885101,29.308323563892099,34.114888628370501,48.182883939038703,37.280187573270801,292.35052754982399]
["02:00:00",10.082063305978901,81.770222743259097,37.162954279015203,27.9015240328253,34.114888628370501,41.324736225087896,8.0890973036342295,7.9718640093786597,3.2825322391559202,7.3856975381008203,"1",3.9859320046893298,217.17467760844099,7.3856975381008203,"1",3.7514654161781902,3.2825322391559202,123.68112543962501,33.763188745603699,15.2989449003517,31.418522860492399,34.114888628370501,50.644783118405599,42.672919109026999,309.93552168815899]
["03:00:00",11.6060961313013,88.452520515826507,42.203985932004699,28.1359906213365,34.114888628370501,48.007033997655299,8.0890973036342295,8.2063305978897993,3.2825322391559202,7.9132473622508801,"1",3.86869871043376,239.595545134818,6.8581477139507596,"1",3.86869871043376,3.1652989449003499,135.28722157092599,37.631887456037497,19.871043376318902,30.2461899179367,34.114888628370501,59.613130128956598,47.127784290738603,340.70926143024599]
["04:00:00",12.5439624853458,110.433763188746,47.9484173505275,27.432590855802999,33.997655334114903,57.327080890973001,11.0785463071512,13.364595545134801,3.2825322391559202,11.4302461899179,"2",3.86869871043376,293.66940211019897,7.5615474794841697,"2",3.9859320046893298,3.2825322391559202,134.93552168815901,52.930832356389203,30.070339976553299,36.342321219226299,33.997655334114903,73.681125439624907,66.119577960140703,410.16998827667101]
["05:00:00",12.8956623681125,123.79835873387999,49.003516998827699,28.1359906213365,33.997655334114903,66.295427901523993,15.4747948417351,12.6611957796014,3.2825322391559202,14.0679953106682,"2",3.9859320046893298,320.48651817116098,8.9683470105509997,"2",3.9859320046893298,9.8475967174677592,131.652989449004,68.229777256740903,40.973036342321201,49.4724501758499,33.997655334114903,81.418522860492402,79.249706916764396,476.55334114888598]
["06:00:00",12.192262602579101,123.79835873387999,53.6928487690504,31.184056271981198,34.114888628370501,62.426729191090303,15.826494724501799,13.1301289566237,3.2825322391559202,11.4302461899179,"2",3.9859320046893298,327.08089097303599,7.9132473622508801,"2",3.5169988276670598,9.8475967174677592,138.45252051582699,65.767878077373993,34.642438452520501,61.664712778429099,33.997655334114903,85.990621336459597,85.580304806565096,489.30246189917898]
["07:00:00",12.5439624853458,126.611957796014,58.851113716295401,30.949589683470101,33.997655334114903,68.933177022274293,16.002344665885101,12.8956623681125,3.2825322391559202,11.254396248534601,"1",3.9859320046893298,341.58851113716298,8.6166471277842902,"1",3.86869871043376,9.8475967174677592,135.404454865182,71.043376318874607,33.763188745603699,69.636576787807698,33.997655334114903,83.880422039859297,83.235638921453699,491.94021101993002]
["08:00:00",11.137162954279001,124.32590855802999,58.499413833528699,30.715123094959001,34.114888628370501,66.822977725674093,15.2989449003517,12.6611957796014,3.2825322391559202,13.892145369284901,"2",3.9859320046893298,341.58851113716298,7.20984759671747,"2",3.86869871043376,9.7303634232121894,131.30128956623699,63.657678780773701,37.983587338804199,70.574443141852299,33.997655334114903,87.221570926143002,89.097303634232105,500.29308323563902]
["09:00:00",10.9026963657679,110.433763188746,59.085580304806598,30.0117233294256,34.114888628370501,61.371629542790203,15.1230949589683,12.426729191090301,3.2825322391559202,11.957796014068,"1",3.9859320046893298,315.65064478311803,7.5615474794841697,"1",3.86869871043376,3.2825322391559202,128.956623681125,67.174677608440803,30.2461899179367,65.885111371629506,33.997655334114903,91.090269636576807,83.001172332942602,471.277842907386]
["10:00:00",12.5439624853458,112.016412661196,58.968347010551,30.0117233294256,33.997655334114903,62.0750293083236,15.1230949589683,13.1301289566237,3.1652989449003499,10.726846424384499,"2",3.9859320046893298,316.52989449003502,9.1441969519343491,"2",3.7514654161781902,9.7303634232121894,125.79132473622499,67.174677608440803,34.642438452520501,66.822977725674093,33.880422039859297,84.583821805392702,84.173505275498201,483.58733880422]
["11:00:00",13.481828839390401,112.89566236811299,60.4923798358734,28.604923798358701,33.997655334114903,62.954279015240303,15.6506447831184,12.192262602579101,3.2825322391559202,9.4958968347010604,"1",3.9859320046893298,325.32239155920303,7.5615474794841697,"1",3.7514654161781902,9.6131301289566196,129.308323563892,64.536928487690503,27.6084407971864,64.478311840562696,33.997655334114903,84.232121922626007,81.828839390386904,470.39859320046901]
["12:00:00",13.1301289566237,112.71981242672901,58.733880422039903,30.715123094959001,33.997655334114903,61.899179366940203,14.419695193434899,11.254396248534601,3.2825322391559202,11.4302461899179,"2",3.9859320046893298,316.52989449003502,8.4407971864009408,"2",3.7514654161781902,9.6131301289566196,129.777256740914,64.185228604923793,29.894490035170001,56.271981242672901,33.880422039859297,83.704572098476007,79.484173505275507,455.89097303634202]
["13:00:00",16.412661195779599,110.961313012896,67.526377491207498,31.418522860492399,33.880422039859297,64.361078546307198,14.5955451348183,11.4888628370457,3.2825322391559202,8.9683470105509997,"1",3.9859320046893298,326.64126611957801,8.0890973036342295,"1",3.7514654161781902,9.7303634232121894,139.15592028136001,65.064478311840602,25.146541617819501,48.300117233294301,33.880422039859297,90.738569753810097,81.828839390386904,469.95896834701102]
["14:00:00",17.233294255568602,113.42321219226299,71.043376318874607,30.0117233294256,33.997655334114903,69.812426729191102,13.364595545134801,10.7854630715123,3.2825322391559202,8.2649472450175807,"2",3.9859320046893298,336.31301289566198,7.7373974208675298,"2",3.86869871043376,9.8475967174677592,149.23798358733899,65.240328253223893,23.036342321219198,41.735052754982398,33.880422039859297,94.783118405627206,78.546307151230906,463.36459554513499]
["15:00:00",17.116060961313,106.565064478312,77.608440797186404,31.652989449003499,34.114888628370501,72.626025791324693,12.1336459554513,10.7854630715123,3.1652989449003499,8.0890973036342295,"2",3.9859320046893298,334.994138335287,8.0890973036342295,"2",3.86869871043376,9.9648300117233308,148.76905041031699,59.613130128956598,20.398593200468898,40.093786635404498,33.997655334114903,101.465416178195,70.808909730363396,448.856975381008]
["16:00:00",17.3505275498242,108.675263774912,71.277842907385704,29.7772567409144,34.114888628370501,72.450175849941402,12.1336459554513,10.082063305978901,3.2825322391559202,7.9132473622508801,"2",3.9859320046893298,325.76201641266101,8.0890973036342295,"2",3.6342321219226301,12.6611957796014,146.77608440797201,57.502930832356398,20.0468933177022,40.5627198124267,34.114888628370501,96.365767878077406,62.837045720984797,443.14185228604902]
["17:00:00",16.0609613130129,103.399765533411,64.478311840562696,27.9015240328253,34.232121922626,68.581477139507598,12.6611957796014,9.1441969519343491,3.2825322391559202,7.7373974208675298,"2",3.9859320046893298,313.45252051582702,7.7373974208675298,"2",3.6342321219226301,9.6131301289566196,142.55568581477101,56.271981242672901,18.288393903868698,38.218053927315403,33.997655334114903,90.562719812426707,56.740914419695201,422.91910902696401]
["18:00:00",13.9507620164127,101.289566236811,60.844079718640103,28.370457209847601,34.114888628370501,63.657678780773701,9.3200468933177003,9.3786635404454906,3.2825322391559202,7.7373974208675298,"2",3.9859320046893298,289.27315357561503,7.9132473622508801,"2",3.6342321219226301,9.7303634232121894,131.652989449004,43.962485345838203,17.584994138335301,35.404454865181698,33.997655334114903,84.056271981242702,53.223915592028099,382.47362250879303]
["19:00:00",12.426729191090301,85.814771395076207,49.120750293083198,28.604923798358701,34.114888628370501,54.689331770222701,7.5615474794841697,9.1441969519343491,3.2825322391559202,7.7373974208675298,"1",3.9859320046893298,253.22391559202799,6.5064478311840599,"1",3.86869871043376,9.8475967174677592,128.13599062133599,39.390386869871001,17.4091441969519,34.935521688159398,33.997655334114903,70.164126611957798,45.017584994138304,349.94138335287198]
["20:00:00",9.7303634232121894,80.011723329425607,43.493552168815903,29.073856975380998,34.114888628370501,50.117233294255598,7.20984759671747,7.9718640093786597,3.2825322391559202,7.3856975381008203,"1",3.9859320046893298,232.56154747948401,6.8581477139507596,"1",3.6342321219226301,9.8475967174677592,117.58499413833501,36.049237983587297,15.6506447831184,32.825322391559197,34.114888628370501,60.316529894490003,42.672919109026999,322.245017584994]
["21:00:00",8.5580304806565106,76.318874560375207,37.8663540445487,24.618991793669402,34.232121922626,42.731535756154699,7.5615474794841697,8.2063305978897993,3.2825322391559202,7.3856975381008203,"1",4.1031652989448997,210.140679953107,7.5615474794841697,"1",3.7514654161781902,9.8475967174677592,112.543962485346,31.652989449003499,16.002344665885101,33.059788980070302,34.232121922626,53.282532239155898,39.859320046893302,300.70339976553299]
["22:00:00",8.5580304806565106,71.746776084407998,34.818288393903899,23.915592028136,34.232121922626,41.324736225087896,7.20984759671747,8.2063305978897993,3.2825322391559202,7.5615474794841697,"1",3.9859320046893298,201.787807737397,7.3856975381008203,"1",3.86869871043376,9.8475967174677592,110.19929660023401,32.883939038686997,15.6506447831184,32.5908558030481,34.114888628370501,50.468933177022301,38.218053927315403,294.54865181711602]
["23:00:00",8.3235638921453692,71.395076201641302,34.232121922626,24.853458382180499,34.232121922626,41.852286049238003,7.5615474794841697,7.5029308323563901,3.2825322391559202,7.0339976553341197,"1",3.9859320046893298,198.710433763189,6.8581477139507596,"1",3.7514654161781902,3.0480656506447801,109.495896834701,30.2461899179367,14.7713950762016,33.059788980070302,34.232121922626,48.182883939038703,38.9214536928488,283.55803048065701]
["24:00:00",8.2063305978897993,72.977725674091403,32.825322391559197,25.7913247362251,34.232121922626,39.917936694021101,7.5615474794841697,7.5029308323563901,3.2825322391559202,7.20984759671747,"1",4.1031652989448997,196.95193434935501,7.20984759671747,"1",3.86869871043376,3.2825322391559202,109.84759671746799,29.1910902696366,14.5955451348183,32.1219226260258,34.232121922626,47.831184056272001,36.342321219226299,278.722157092614]
[]
["                     Примечание: ячейки входящие в \"График временного отключения потребления\" - №---(отсутствуют)"]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической мощности\" - №№1,3,5,11,13,18,20,25."]
[null,"                          ячейки входящие в \"График ограничения режима потребления электрической энергии\" - №№1,3,5, 11,13,18,20,25,30."]
[null,"                          ячейки заведенные под действие АЧР - №№1,5,7,11,13,17,18,19,20,26,30"]
["Селенгин В.В.\n(3902) 29-90-49"]